## Slide 1
Pulmonary Function Test
Spirometry

## Slide 2: Spirometry
It is the simplest and most frequently used method to meausre pulmonary function in human, it is a measure of lung volume against time
Spirometer measures the volume and flow rate of forcefully expired air after deep breath

## Slide 3
      1) Diagnosis of
      Obstructive pulmonary diseases (bronchial asthma)
      Restrictive pulmonary disease (pulmonary fibrosis)
      2) Follow up of patients

## Slide 4: Spirometery
      Method used for measurement of spirometric parameters.
      FEV1(Forced expiratory volume in the first second):Is the volume of air expired forcefully in the first second after maximum inspiration
      FVC (forced vital capacity): Is the maximum volume of air expired forcefully after maximum inspiration,
      FEV1
      FEV1% = --------  100
      FVC

## Slide 6: Procedure of spirometry
Spirometry test usually required 15 minutes in especial quite room.
Spirometry done in sitting position after a resting period of 10-15 minutes.
Spirometer turns on to keep its temperature at room temperature.
Personal data (age, sex, date of birth height, body weight, and ethnicity) are entered through spirometer keyboard.
A new disposable mouthpiece is inserted into mini flow-meter mouthpiece holder.
A nasal clip is putted on person nose to ensure that all air is expired into the spirometer.
Instructed the person to take maximum deep inhalation then expel the air forcefully and as fast as possible into mini flow-meter mouthpiece holder of spirometer.
The test is repeated three times and the best results is recorded (International American Thoracic society ATS and European respiratory society ERS).

## Slide 7
      Find out FEV1%
      FEV1
      FEV1% = --------  100
      FVC
      In normal subject the FEV1/FEV% >70
      Find out FVC%
      Measured FVC
      FVC%= ---------------------  100
      Predicted FVC
      In normal subject FVC% ≥ 80%

## Slide 8
Restrictive pulmonary disease
is considered when FVC% is < 80% and FEV1/FVC is normal (>70%)
Obstructive pulmonary disease is considered when FVC% is normal (>80%) and FEV1/FVC is reduced to <70%
Combined (restrictive and obstructive) pulmonary disease is considered when both FVC% and FEV1/FVC are reduced

## Slide 9
FEV1%
FVC%
Condition
Obstructive
Normal
Reduced
Normal
Restrictive
Reduced
Reduced
Combined
Reduced
Normal
Normal
Normal

## Slide 10: Normal spirogram

## Slide 11: restrictive pattern of spirogram

## Slide 12: obstructive pattern of spirogram

## Slide 13: combined (restrictive and obstructive) pattern of spirogram

## Slide 14: Factors affecting lung volumes
Age
Gender
Height and built
posture
Ethnic group
Lung diseases (obstructive and restrictive lung diseases)