## Slide 1: Basic serologic laboratory techniques
Dr. Rana A. Fayez

## Slide 2: What is serology
Is a branch of immunology dealing with study of Ag –Ab interactions in Vitro by different serological tests.
Serological Tests: types of tests where serum is used to measure the amount of antibodies present in it
Ag/Ab
Importance of Lab diagnosis:
1- Save patient’s life
2- Prevent spread of disease
3- Treatment therapy
4- Confirm clinical diagnosis

## Slide 3: Lab diagnosis of infectious diseases
1. Isolation and identification of causative agent by:
a. Morphological tests (microscopy)
b. Biochemical reactions
c. Cultural identification
d. Serological reactions
e. Biotechnology: PCR-DNA probe- DNA finger printing
2. Detection of specific Ab in sera of infected .patients using serological techniques

## Slide 4: Serological Reactions
Primary 1 : It measures the direct interaction between Ag and Ab in Vitro( test tube).
Example: Elisa tests.
Secondary 2 : It measures the consequences of interaction between Ag and Ab in Vitro.
Example: Agglutination, Precipitation, Neutralization tests.
Tertiary 3 : It measures Ag and Ab interactions in Vivo ( in body)

## Slide 7: Terms
Validity : A serological test should provide an indication of which individuals actually have the disease and which do not.
Specificity: ability of a test to identify correctly those who do not have the disease.( have least cross reactivity)
Sensitivity: Ability of a test to identify correctly those who have the disease( can detect small amounts)

## Slide 8
Quantitative test:
It measures the amount of Ag or Ab.
Qualitative test :
It detects the presence or absence of Ag or Ab.

## Slide 9: Terms
Seroconversion:
is development of detectable specific Ab to microorganisms in serum as a result of infection or immunization
Sero reversion :
is the opposite of seroconversion .
This is when the test can no longer detect Ab or Ag in patient's serum

## Slide 10: Serum Separation
What is serum ?
Serum :Blood- cells and clotting factors
Plasma : blood – cells
Separation:
Use plain tube ( no anticoagulant)
Leave blood for 1 hour at room temp.
Separate the clot
Centrifuge at 3000rpm for 10 min.
Serum
cells

## Slide 11
Thank you