## Slide 1
Process Control
Course II
Lecture 3
Measuring element

## Slide 2
m
cp
Ti
Steam in
m
cp
To
M
Q
Tm
Tsp
E
Comparator
Process
Final control element
Temperature measuring element
Controller
Control Valve
P
Closed loop system

## Slide 3
Measuring element
Measurement refers to the conversion of the process variable into an analog or digital signal that can be used by the control system. This action can be carried out by two elements: Sensors and transmitter. These two elements together are called Transducer .
Process variable
controller
Sensor
Transmitter
Transducer

## Slide 4
Sensor is a device that can detect a physical quantity (such as temperature, pressure,..etc.) and convert the data into an electrical signal.
Transmitter is a device that coverts the signal produced by a sensor into standardized instrumentation signal such as 3-15 psig air pressure or 4-20 mA DC electric current.
Transducer is a device that can convert energy from one form to another
Measuring variables
1- Temperature
2- Pressure
3- Level
4- Flow
5- Concentration
Convertors are such as I/P, P/I, T/I, F/I ….etc.

## Slide 5
oil
m (kg/s)
cp
Ti
Hot water
w (kg/s)
cp
t1
w (kg/s)
cp
t2
oil
m (kg/s)
cp
To
Temperature transmitter
T/I
Controller
4-20 mA
Set point
Convertor
I/P
4-20 mA
Air supply
20 psig
3-15 psig
Signal transmitted across the loop
1- Pneumatic 3-15psi
2- Electric 4-20 mA
3- Hydraulic

## Slide 6
1- Flow
2- Temperature
3- Pressure
4- Level
5- Concentration
Measuring elements for process control
The five important measurement elements are

## Slide 7
1- Flow measurement ( volumetric or mass flowrate)
(a). Orifice plate
(b). Venturi meter
(c). Turbine flow meter
(d). Magnetic flow meter

## Slide 8
(a). Orifice plate

## Slide 9
(b). Venturi meter

## Slide 10
(c). Turbine flow meter

## Slide 11
(d). Magnetic flow meter

## Slide 12
2- Temperature measurement
(a). Thermometer
(b). Thermocouple
(c). Thermal Resistance meter
(d). Filled –bulb Temperature sensor

## Slide 13
(a). Thermometer

## Slide 14
(b). Thermocouple

## Slide 15
(c). Thermal Resistance meter

## Slide 16
(d). Filled –bulb Temperature sensor

## Slide 17
3- Pressure measurement
(a). Bellows
(b). Bourdon tube
(c). Diaphragm
(d). Strain gage

## Slide 18
(a). Bellows

## Slide 19
(b). Bourdon tube

## Slide 20
(c). Diaphragm

## Slide 21
(d). Strain gage

## Slide 22
4- Level measurement
Float
Sight
Capacitance
Weight
Ultrasonic
Waves(radar)

## Slide 23
Float

## Slide 24
  b. Sight

## Slide 25
  c. Capacitance

## Slide 26
(d). Weight

## Slide 27
(e). Ultrasonic

## Slide 28
(f). Waves(Radar)

## Slide 29
5- Concentration measurement
Conductivity meter
Density meter

## Slide 30
Conductivity meter

## Slide 31
(b).Density meter

## Slide 32
Function performed by the instrumentation
Symbol | Action | Example | description
A | Alarm |  | Pressure Alarm
C | Control |  | Pressure control
I | Indicator |  | Level Indicator
R | Recorder |  | Flow recorder
T | Transmitter |  | Level Transmitter
PA
PC
LI
FR
LT

## Slide 33
∑
∑
+
+
+
_
(s)
(s)
(s)
(s)
(s)
∑
∑
+
_
(s)
(s)
(s)
(s)
(s)
Notes about signal flow block diagram

## Slide 34
∑
∑
+
+
+
_
(s)
(s)
(s)
(s)
(s)
∑
∑
+
_
(s)
(s)
(s)
(s)
(s)

## Slide 35
∑
∑
+
+
+
_
(s)
(s)
(s)
(s)
(s)
∑
∑
+
_
(s)
(s)
(s)
(s)
(s)
Ans.: 3/4

## Slide 36
Σ
+
+
-
+
+
-

## Slide 37
Thank you for your listening
Any ?