## Slide 1
Process Control
Course II
Lecture 6
The Controllers
Part III
By
Prof. Alaa Kareem Mohammed

## Slide 2
2- Integral controller
In the integral controllers the output , P(t), is directly proportional to the integral of the error signal E(t).
P(s)
E(s)
Where I is the integral time constant.
Taking Laplace transform of both sides
Transfer function of the integral controller
As we mentioned previously, Integral mode controller is rarely used alone
… … … . (2)
Advantage | Disadvantage
No offset (i.e. the desired value and the set point are equal | it responds slowly towards the produced error.

## Slide 3
3- Proportional-Integral controller (PI)
As the name suggests, it is a combination of proportional and an integral controller. The output is equal to the summation of proportional and integral of the error signal. The figure below shows the block diagram of proportional – integral controller.
P(s)
E(s)
Now let us analyze proportional and integral controller mathematically
I is the integral time of the integral controller
Proportional part
Integral part

## Slide 4
Taking Laplace transform of both sides
Kc
I
Transfer function of Proportional -integral controller

## Slide 5
Exercise
What type and parameters of the following controllers

## Slide 6
Example 1
For the closed loop shown Fig. below
Calculate the offset for unit step change in
Repeat (1) for values of I=2, I = 1 and I = 0.5
Repeat (1) taking Gc(s) = 0.5.
)
+
-
i(s)
sp
Solution
(1).
The change occurs in Ti(load)
therefore, the problem is regulator
PI controller I=4 , 0.5
T=2 , =2

## Slide 7
(2).
PI controller I=2 , 0.5
PI controller I=1 , 0.5
T=1 =1

## Slide 8
PI controller I=0.5 , 0.5
T=0.707 =0.707
3. Proportional controller 0.5
)
+
-
i(s)
sp

## Slide 9
i | Controller | symbol | Parameters |  | offset | T or τ | δ
 |  |  | Kc | I |  |  | 
1 | Proportional | P | 0.5 | - | 0.5 | 0.5 | -
2 | Proportional integral | PI | 0.5 | 4 | 0 | 2 | 2
3 | Proportional integral | PI | 0.5 | 2 | 0 | 1.414 | 1.414
4 | Proportional integral | PI | 0.5 | 1 | 0 | 1 | 1
5 | Proportional integral | PI | 0.5 | 0.5 | 0 | 0.707 | 0.707
We noticed that
1- PI controller eliminates the offset.
2- Both Time constant (T) and damping coefficient (are direct proportion to the value of (I)
3- Increasing the value of I will slow the response.
4- Increasing the value of I will increase the value of damping coefficient and make the system more stable.
Advantage | disadvantage
No offset | Slow the response

## Slide 10
Homework
)
+
-
sp
Consider the closed loop in Figure beside. A unit step change occurs in set point.
Determine
b
c
d
i | Controller | symbol | Parameters |  | offset | T or τ | δ
 |  |  | Kc | I |  |  | 
1 | Proportional | P | 2 | - | 0.2 | 0.2 | -
2 | Proportional integral | PI | 2 | 5 | 0 | 1.118 | 2.795
3 | Proportional integral | PI | 2 | 0.5 | 0 | 0.353 | 0.885
4 | Proportional integral | PI | 2 | 0.05 | 0 | 0.111 | 0.279
Ans:

## Slide 11
4. Derivative controller (D)
In the derivative controller, the controller output (P) is proportional to the derivative of the error signal (E). Figure below shows the block diagram of derivative controller.
P(s)
E(s)
Where R is the derivative time of the derivative controller
Taking Laplace transform of both sides
Transfer function of Derivative controller
We never use derivative controllers alone

## Slide 12
  5. Proportional –Derivative controller (PD)
Proportional-derivative controller is a combination
of proportional and an integral controller,
the output is equal to the summation of
proportional and integral of the error signal.
Fig. below shows the block diagram of the PD controller.
P(s)
E(s)
Kc
R

## Slide 13
Transfer function of Proportional -Derivative controller
Advantage | Disadvantage
Increase stability | Causes Offset.

## Slide 14
Exercise
What type and parameters of the following controllers

## Slide 15
Example 3
Consider the block diagram shown in Fig. below. Find the response and the offset when a unit step change occurs in for two values of derivative time R= 0.1 , R=1 and R=10 .
o(s)
L(s)
sp
+
-
(1+R S)
Solution
The change occurs in the load variable
therefore, the problem is regulator
PD controller with Kc =1 and 0.1
T= = 0.953
=1.827
=0.958

## Slide 16
Offset = 0.09
Response
For R=1

## Slide 17
T= = 0.953
=1.909
=1.0015
Offset = 0.0909
Response
Since =1.0015
The process is second order with
Form Eq.(a) and(b)

## Slide 18
=1
=0.909

## Slide 19
The Table below summarize the effect of the derivative time constant R on the offset, system time constant T and damping coefficient .
0.1 | 0.09 | 0.953 | 0.958
1 | 0.09 | 0.953 | 1.001
0.1 | 0.09 | 0.953 | 0.958
1 | 0.09 | 0.953 | 1.001
We see that increasing the value of R by ten times leads to increase the damping coefficient (i.e. the system be more stable) while the values of time constant T and offset remain constant.

## Slide 20
Homework
Consider the closed system shown in Fig. below . If a unit step change occurs in load(XL), find the values of offset, T, for the following types of controller:
Proportional
Proportional
Proportional – Derivative ,
Proportional – Derivative ,
Conclude the effects of both Kc and R upon the values of T, and offset.
(s)
L(s)
sp
+
-

## Slide 21
i | Controller | symbol | Parameters |  | offset | T or τ | δ
 |  |  | Kc | R |  |  | 
1 | Proportional | P | 1 | - | 0.5 | 1.414 | 0.707
2 | Proportional | P | 2 | - | 0.333 | 1.154 | 0.577
3 | Proportional -Derivative | PD | 2 | 1 | 0.333 | 1.154 | 0.866
4 | Proportional - Derivative | PD | 2 | 2 | 0.333 | 1.154 | 1.155
Ans:

## Slide 22
Thank you for your listening
Any ?