## Slide 1
Process Control
Course II
Lecture 8
The Stability
Part I
By
Prof. Alaa Kareem Mohammed

## Slide 2
Outline
1- Concept of stability
2- Stability Cases
3- Definition of Stability
4- Characteristic Equation
5- S-Plane
6- Criteria of Stability

## Slide 3
1- Concept of Stabilityمفهوم الاستقرارية
Stability
m
cp
Ti
Steam in
m
cp
To
M
Q
Tm
Tsp
E
Comparator
Process
Final control element
Temperature measuring element
Controller
Control Valve
P
Consider the heating tank system shown below. Assume that the temperature of the exit stream To is controlled at value 40 oC . Now we wish to change the set point from 40 oC to 45oC, so the exit temperature (To ) should varied to reach the value 45oC.

## Slide 4
∑
∑
+
+
+
_
(s)
(s)
(s)
(s)
(s)
(s)
(s)
According to the numerical values of the transfer functions in the block diagram, the response will be one of the following of three cases

## Slide 5
1- The response of ( To) converge to 45oC in one of the forms shown below. Note that in all cases the response (To) reaches a certain value at . So in this case we said the system is stable.
To
t
40oC
45oC
t
40oC
45oC
t
40oC
45oC
To
t
40oC
45oC
44oC
Offset =1

## Slide 6
2- The response of ( To) oscillate around to 45oC as shown below. Note that the response (To) neither converge nor diverge from a certain value at . So in this case we said the system is critically stable.
t
The response neither converge nor diverge
40oC
45oC
To

## Slide 7
3- The response of ( To) diverge from 45oC shown below. Note that the response (To) does not reach a certain value at . So in this case we said the system is unstable.
t
To
45oC
40oC

## Slide 8
Stability
Stable
Critically stable
Unstable
2- Stability Cases

## Slide 9
3- Definition of Stability
The stability of a control system is defined as the ability of any system to provide a bounded output when a bounded input is applied to it.
A system is stable if every bounded input yields a bounded output. We call this statement a bounded-input, bounded-output (BIBO) definition of stability.
More specifically, we can say, that stability allows the system to reach the steady-state and remain in that state for that particular input even after variation in the parameters of the system.
Stability
The system reach a certain value called steady state value
تعريف الاستقرارية

## Slide 10
4- Characteristic Equation
المعادلة المميزة
Characteristic equation is the denominator of the transfer function of the closed loop equal to zero.
∑
∑
+
+
+
_
(s)
(s)
(s)
Characteristic equation

## Slide 11
(s)
s)
(s)
Example 1
Find the characteristic equation for the closed loop shown below.
Solution
Note that the characteristic equation has three roots of S, these roots called poles
Characteristic equation

## Slide 12
5- S-plane
It is a plane the x-axis of which is real and the y-axis of which is imaginary. It is used to ascertain the nature or S root and hence the stability of the system.
R
Imaginary axis

## Slide 13
Roots | Definition | Example | Response in time domain | Notes
 | Negative real | S= - 4 |  | Cause the system to be stable
 | Complex: negative real | S= | ) | Cause the system to be stable
 | Pure imaginary | S= | ) | Cause the system to be critical stable
 | Complex: positive real | S= | ) | Cause the system to be unstable
 | Positive real | S= 3 |  | Cause the system to be unstable
Roots | Definition | Example | Response in time domain | Notes
 | Negative real | S= - 4 |  | Cause the system to be stable
 | Complex: negative real |  |  | Cause the system to be stable
 | Pure imaginary |  |  | Cause the system to be critical stable
 | Complex: positive real |  |  | Cause the system to be unstable
 | Positive real | S= 3 |  | Cause the system to be unstable
R
Imaginary axis

## Slide 14
Solution
A closed system has the following characteristic equation.
Find the roots of the equation and then locate them on the S-plane.
Example 2

## Slide 15
R
j
1
2
2
1
-2
-1
-2
-1
Roots

## Slide 16
R
j
1 j
2
2 j
1
-2
-1
-2j
-1j
i

## Slide 17
s)
(s)
1+S)
Fig.

## Slide 18
Criteria of stability
1- The system is stable if and only if all roots are negative real or complex with negative real. For example the system has the following roots is stable:
2- The system is unstable if one or more of the roots are positive real or complex with positive real. For example the system has the following roots is unstable:
3- The system is critically stable if one or more of the roots are pure imaginary on condition that no positive real or complex with positive real are exist, otherwise the system is unstable. For example the system has the following roots is critically stable:

## Slide 19
Exercise
Specify the stability of the system that has the following roots :
a.
b.
c.
d.
e.
f.
g.

## Slide 20
Example 3
Consider the closed loop shown in the block diagram below. Test the stability of the system in the following cases:
(a). Kc=1
(b). Kc=5/4
(c). Kc=2
s)
(s)
Solution
(a). Kc=1

## Slide 21
Roots are complex numbers with real part is negative.
The system is stable

## Slide 22
(b). Kc= 5/4
Roots are complex numbers with pure imaginary.
The system is critically stable

## Slide 23
(c). Kc= 2
Roots are complex numbers with real part is positive.
The system is unstable

## Slide 24
Homework 1
Consider the closed loop shown in the block diagram below. Test the stability of the system in the following cases:
(a). Kc = 1
(b). Kc = 4
s)
(s)
1+S)
Ans: (a). The roots are complex with negative real part. . The system is stable
(b). One of the roots is positive real S1=1.118, S2= - 1.118. The system is unstable

## Slide 25
Homework 2
Test the stability of the closed loop shown in the block diagram below.
+
+
-
+

## Slide 26
Example 4
5
+
-
y
ysp
Consider the closed loop shown in the block diagram below. Test the stability of the system in the following cases:
(a). Kc=1
(b). Kc=8
(c). Kc=27
Solution

## Slide 27
In order to solve Eq.(), we shall use trail and error to find one root that satisfies Eq.() , then dividing Eq.() by this root to reduce Eq.() to second order.
Note that the root S1= - 4 satisfies Eq.(*)
+16
Dividing Eq.() by (S+4) , we obtain
So, Eq.() can be written as
The roots are: S1= - 4, S2,3 =
The system is stable

## Slide 28
satisfies Eq.(**)
One root is negative real and the other two roots are pure imaginary , so the system is critically stable
The value of Kc that make the system critically stable is called maximum Kc,max or critical Kc, crit .

## Slide 29
Kc,max make the system to be critically stable and then the response will oscillate sinusoidal
as shown in Fig. below.
In this case , we can find the frequency of oscillation and the
Time of one cycle as well.
y
t
Return to our example

## Slide 30
satisfies Eq.(**)
Then Eq.(**) can be written as
Two of the roots are complex with the real part is positive
The system is unstable

## Slide 31
Thank you for your attention
Any ?