## Slide 1
Process Control
Course II
Lecture 7
The Controllers
Part IV
By
Prof. Alaa Kareem Mohammed

## Slide 2
  6. Proportional -Integral–Derivative controller (PID)
A PID controller continuously calculates an error value as the difference between a desired set point and a measured process variable and applies a correction based on proportional, integral and derivative terms (denoted P, I, and D respectively). Figure below shows the block diagram of proportional-integral-derivative controller
Gc (s)
P(s)
E(s)
PID
Kc
R
I

## Slide 3
Proportional part
Derivative part
Integral part
Taking Laplace transform for both sides

## Slide 4
.
I is the controller integral time .
R is the controller derivative time.
Exercise
What type and parameters of the following controllers

## Slide 5
Example 4
PID Controller has the transfer function . A negative ramp change of slope (- 0.5) in error signal (E) is introduced to this PID controller at time = 0. Find the response P(t) and sketch both the E(t) and P(t).
Gc (s)
P(s)
E(s)
PID
Solution

## Slide 6
0
0
0
E(t)= - 0.5 t
P

## Slide 7
Example 5
For the closed loop shown in Fig. below, if a unit step change occurs in
Find
(a) the value of (T), offset,
(b) The response and sketch it.
(c) Repeat (a) for values of I=0.2 and I=20
(s)
L(s)
sp
+
-
Solution
The change occurs in load variable,
then the problem is regulator

## Slide 8
T= 2.645 , =0.568
a.

## Slide 9
b. Response
0

## Slide 10
T= 0.836 , =0.179
c.
I = 0.2

## Slide 11
I = 20
T= 8.366 , =1.792

## Slide 12
i | Controller | symbol | Parameters |  |  | offset | T or τ | δ
 |  |  | Kc | R | I |  |  | 
1 | Proportional –Integral-Derivative | PID | 2 | 3 | 0.2 | 0 | 0.836 | 0.179
2 | Proportional –Integral-Derivative | PID | 2 | 3 | 2 | 0 | 2.645 | 0.568
3 | Proportional –Integral-Derivative | PID | 2 | 3 | 20 | 0 | 8.366 | 1.792

## Slide 13
Example 6
Consider the closed system shown in Fig. below
o(s)
sp(s)
+
-
What is the type of the controller?
What are the parameters of the controller?
Determine T, δ and the offset if a unit step change occurs in the set point.
If the controller is replaced by proportional- Derivative (PD) controller with , find the offset for a unit step change in . Find the response of the system and sketch it.
5. Repeat (4) if the controller is proportional with Kc=2

## Slide 14
Solution
The controller is proportional –Integral-derivative controller (PID).
2. The parameters of the controller are:
Controller gain
Derivative time
Integral time
3. The change occurs in the set point, then the problem is servo

## Slide 15
Offset =
Offset

## Slide 16
4. The controller is proportional – derivative (PD)
o(s)
sp(s)
+
-
Offset =
Offset

## Slide 17
Response
0

## Slide 18
5. The controller is proportional (P)
o(s)
sp(s)
+
-
Offset =
Offset

## Slide 19
Response
0

## Slide 20
Thank you for your attention
Any ?